## Slide 1
Final 5-minute presentation
Advisor: Navid Amini, PhD
Department of Computer Science
Early Detection of Diabetic Retinopathy
1
Notes: [0:08] Hi, my project is early detection of diabetic retinopathy from retinal photographs.

## Slide 2: About Diabetic Retinopathy
The clinical burden is growing
Diabetes has expanded rapidly worldwide, increasing the number of people who need retinal screening for diabetic retinopathy.
151M
adults living with diabetes in 2000
589M
adults living with diabetes in 2024
+290%
observed increase in screening population
Observed growth over time
More patients means more fundus images to grade - and more pressure for fast triage.
2
Notes: [0:22] Let me start with why. The number of adults living with diabetes grew from 151 million in 2000 to 589 million in 2024. Each of them needs regular retinal screening, so the number of fundus images to grade keeps growing.

## Slide 3: Why Screening Needs Help
The clinical pathway breaks down before an image is graded
3
• Coverage gap: about 60% of people with diabetes do not get an annual eye exam
• Capacity gap: more images need more grading time and specialist review
• Safety gap: early disease has no symptoms, so late detection lets preventable vision loss progress
• The need: rapid, consistent triage right after the fundus image is captured
Notes: [0:20] The screening pathway breaks down before an image is graded. About 60 percent of patients skip the annual exam, grading takes specialist time, and early disease has no symptoms. We need rapid, consistent triage right after the image is captured.

## Slide 4: Early DR: Where AI Can Help Most
Grades 1-2, before symptoms appear
4
• Silent stage: grades 1-2 cause no symptoms, so patients rarely seek care until later
• Under-studied target: much well-known work, such as Gulshan et al. (2016), targets referable DR (moderate or worse)
• A gap in the evidence: I found no study reporting early-DR sensitivity at a pre-set specificity
• The tool: a triage aid, not a replacement: a calibrated early-DR probability so the ophthalmologist sees high-risk images first
Notes: [0:30] Early disease, grades 1 and 2, is where AI could help most. It is silent, so patients do not seek care. Much well-known work, such as Gulshan and colleagues, targets referable DR, and I found no study reporting early-DR sensitivity at a pre-set specificity. My tool is a triage aid, not a replacement.

## Slide 5: The Gap: Merged Datasets Are Not Tested
Why this project is needed
5
• Pooling is common: public datasets (DDR, EyePACS, APTOS) are combined to get more training data
• An untested assumption: a 2025 review notes that multi-dataset training can mask poor external generalization
• Not found: a study testing whether a merged model learns the disease or the source dataset
• Hidden failures: in-domain accuracy or AUROC can look excellent while a model over-flags, uses camera cues or misses its target at a new site
• Why it matters: an over-flagging tool overloads graders; an under-flagging one misses early disease
Notes: [0:35] Here is the gap. Public datasets like DDR, EyePACS and APTOS are often pooled to get more data. A recent review notes that multi-dataset training can mask poor external generalization, and I found no study testing whether a merged model learns the disease or the source. Accuracy can look excellent while the model over-flags or uses camera cues. An over-flagging tool overloads graders; an under-flagging one misses early disease.

## Slide 6: Research Question
What this project asks, and why it matters
6
• Main question: when datasets are merged for early-DR detection, does the model learn the disease or the source? Why: merging is common, yet I found no study testing it
• RQ1 (the merge): does adding EyePACS to DDR improve early-DR sensitivity on unseen sources? Why: more data is assumed to help; a negative-control merge tests it
• RQ2 (the threshold): does a threshold frozen on validation survive a change of source? Why: AUROC can hide over-flagging, which overloads graders, or missed early cases
• RQ3 (shortcuts): does image size or another capture cue predict the label? Why: a model could be rewarded for the camera instead of the disease
The contribution is a protocol to test DR models before trusting them, not a new network.
Notes: [0:40] So my main question is: when datasets are merged for early-DR detection, does the model learn the disease or the source? Merging is common, yet I found no study testing it. RQ1 asks whether adding EyePACS really helps, using a negative-control merge. RQ2 asks whether a threshold frozen on validation survives a change of source, because AUROC can hide over-flagging or missed early cases. RQ3 asks whether capture cues like image size are predicting the label. The contribution is a protocol to test DR models before trusting them, not a new network.

## Slide 7: Relevant Works
Data and methods this project builds on
7
• Gulshan et al. (2016): deep learning for referable DR; this project targets early DR
• DDR (Li et al., 2019), EyePACS (Kaggle, 2015), APTOS 2019: my three data sources, used for training, held-out and external testing
• Guo et al. (2017): temperature scaling, used for calibrated probabilities
• Recent review (arXiv, 2025): describes cross-dataset degradation and the need for external test sets
• Cross-camera validation (2022): one DR software tested across camera models, for referable DR only
Still to do: a systematic literature search for early-DR and merged-data studies.
Notes: [0:25] This builds on a few pieces. Gulshan and colleagues showed deep learning for referable DR. DDR, EyePACS and APTOS are my data sources, and temperature scaling gives calibrated outputs. A recent review and a cross-camera study describe dataset and camera effects, but for referable DR. I still need a systematic literature search.

## Slide 8: How It Is Different
Common practice as I understand it, to be checked in the literature review
8
• Target: early DR (grades 1-2) at a fixed specificity, not referable DR
• Data: the merge itself is tested, with DDR only, source-balanced and old-merge arms
• Imbalance: sampler, loss and augmentation compared one at a time, with a control
• Transfer: held-out EyePACS patients plus APTOS, reported per source
• Evidence: shortcut audits and calibrated probabilities, not just accuracy
Not a new network: the value is the design and the evidence.
Notes: [0:25] How is this different? My target is early DR at a fixed specificity. I test the merge itself, compare imbalance methods one at a time with a control, test on held-out patients and an external set, and report shortcut audits and calibrated probabilities. It is not a new network: the value is the design and the evidence.

## Slide 9: Proposed Methods
Three data arms, one change at a time
9
• Three data arms: A: DDR only. B: DDR + all EyePACS grades, source-balanced. C: DDR + EyePACS grades 1, 3, 4 only, an old merge kept as a negative control
• Imbalance, one at a time: weighted sampler, class-balanced and focal loss, augmentation, each with a control
• Honest splits: EyePACS split by patient, a group-aware DDR split, APTOS for external testing only
• Shortcut audit: test whether image size, file size, colour or sharpness alone predict the label
• Frozen operating point: calibrate and set specificity 0.90 on validation, then test per source
Notes: [0:25] The method uses three arms: A is DDR only, B is DDR plus all EyePACS grades, source-balanced, and C is DDR plus only EyePACS grades 1, 3 and 4, an old merge kept as a negative control. I add honest splits, a shortcut audit, and a frozen operating point at specificity 0.90 set on validation.

## Slide 10: Model Architecture
From fundus image to a calibrated early-DR flag
10
Fundus image
DDR, EyePACS, APTOS
Preprocess
Crop, pad, resize to 512 px
EfficientNet-B0
ImageNet weights, one output head
Calibration
Temperature scaling and prior-shift correction
Output
Early-DR probability and flag
Trained on the training split. The best epoch, calibration and a threshold at specificity 0.90 are set on validation only; test sets are opened afterwards.
Not a new network: the design and the evidence are the contribution.
Notes: [0:25] The model is simple: a fundus image is cropped and resized, passed through an EfficientNet-B0, then calibrated with temperature scaling and a prior-shift correction. The output is a probability of early disease and a flag, all set on validation data only.

## Slide 11: Datasets and Experimental Setup
Three sources, frozen splits
11
• DDR: 12,522 images, random 60/20/20 split (patient IDs not available)
• EyePACS: 35,108 images, split by patient 70/15/15; held-out test
• APTOS: 3,662 images, external test only, never used for training or selection
• Model: EfficientNet-B0 at 512 px, three seeds, Kaggle GPU
• Rules: splits are frozen files; test sets are opened only through a declared analysis
Notes: [0:20] For data I use DDR, EyePACS split by patient, and APTOS as an external test only. The splits are frozen files, and test sets are opened only through a declared analysis.

## Slide 12: Next Steps
What is planned
12
• Train the three arms: several seeds on frozen patient-level splits
• Compare imbalance methods: sampler, loss and augmentation, one at a time
• Test on unseen sources: held-out EyePACS patients and APTOS, with 95% confidence intervals
• Calibrate and report: sensitivity at a fixed specificity, per source
• Write up: finish the literature search and the thesis; an IDRiD check is a later extension
Notes: [0:15] Next steps: train the arms with several seeds, compare the imbalance methods, test on unseen sources with confidence intervals, and finish the literature search and thesis.

## Slide 13: References
• International Diabetes Federation. IDF Diabetes Atlas, 11th ed., 2025.
• Ting, D. S. W., et al. 'Artificial intelligence-assisted diabetic retinopathy screening.' Ophthalmology, 2021.
• Shah, P., et al. 'Progression of DR and screening demand.' JAMA Ophthalmology, 2024.
• WHO. Guidelines on diabetic retinopathy screening, 2023.
• CDC. Eye-health guidance for people with diabetes, 2024.
• Li, T., et al. Diagnostic assessment of deep learning algorithms for DR screening (DDR). Information Sciences, 2019.
• Kaggle. Diabetic Retinopathy Detection (EyePACS), 2015; APTOS 2019 Blindness Detection.
• Guo, C., et al. On calibration of modern neural networks. ICML, 2017.
• Sipka, T., et al. The hitchhiker’s guide to prior-shift adaptation. WACV, 2022.
• Gulshan, V., et al. Development and validation of a deep learning algorithm for detection of diabetic retinopathy. JAMA, 2016.
• Tan, M., & Le, Q. EfficientNet: Rethinking model scaling for convolutional neural networks. ICML, 2019.
• From Retinal Pixels to Patients: Evolution of Deep Learning Research in Diabetic Retinopathy Screening. arXiv:2511.11065, 2025.
• Cross-camera external validation for artificial intelligence software in diagnosis of diabetic retinopathy. PMC8926465, 2022.
13
Notes: [0:03] These are my references.

## Slide 14: THANK YOU
Questions? We’d love to discuss!
Notes: [0:03] Thank you for listening.